Classic Surrounds LLC

INSTALLATION INSTRUCTIONS

METAL TRIM KITS

- INSTALL FIREBOX PER REQUIREMENTS

- PLACE METAL STRIP ABOVE FIREBOX ON SHEETROCK

- OVERLAP STRIP OVER FIREBOX APPROXIMATLY 1”.

- STAPLE STRIP TO THE WALL

- INSTALL SURROUND BY NORMAL PROCEDURES

OPTION: YOU CAN ALSO PLACE TWO-SIDED TAPE ON THE BACK OF METAL STRIP AND SECURE TO SHEETROCK WALL.

THE BLACK METAL TRIM KIT CAN BE ATTACHED TO THE WALL TO COVER ANY GAPS. IT MAY BE ATTACHED TO THE BACK OF A WOOD FRONT TO COVER GAPS.

PAGE 34